## Sensor calibration
Temperature sensors are calibrated every ninety days. Use a certified reference thermometer. Record the measured offset in degrees Celsius.